**APPROVED MAKES FOR FIRE ALARM SYSTEM**

|  |  |
| --- | --- |
| Fire Alarm Control Panel | Honeywell /Notifier/Ravel/Equivalent |
| Multi Sensor Detector optical type | Honeywell /Notifier/Ravel/Equivalent |
| Smoke Detector optical type | Honeywell /Notifier/Ravel/Equivalent |
| Heat Detector | Honeywell /Notifier/Ravel/Equivalent |
| Hooter | Honeywell /Notifier/Ravel/Equivalent |
| Response Indicator | Honeywell /Notifier/Ravel/Equivalent |
| Manual Call Point | Honeywell /Notifier/Ravel/Equivalent |
| Fault Isolator Module | Honeywell /Notifier/Ravel/Equivalent |
| 2C x 1.5 Sq.mm & 4C x 2.5 Sq.mm Cable | Polycab/ Finolex/ Hawells/ Universal |
| CO2 4.5 Kg Fire Extinguisher | Ceasefire/ Kanex/Safex |
| Mechanical Foam 9 Ltrs Fire Extinguisher | Ceasefire/ Kanex/Safex |
| Water CO2 9 Ltrs fire extinguisher | Ceasefire/ Kanex / Safex |
| Dry chemical 10 Kg Extinguisher with trolley | Ceasefire/ Kanex / Safex |