The following are the clarifications to the doubts raised by the contractors on 13-10-2017:

1. The makes of IP Phones, IPPBX, Speakers, Amplifiers and DVR as mentioned in the tender are final.
2. The model for Training room chairs is “Thames” with arms.
3. The product code for Hand dryer is HDR-SAP-M06ACS.
4. Round towel ring is available in the market.
5. Brand for Shoe polish Machine is Orchids.
6. The makes of wooden flooring is Green panel max / Square foot.
7. All items for LAN cabling have been considered in the BOQ, and any item which may come up as per site conditions will be finalised on that date.
8. The minimum cost of natural veneer to be considered for work is Rs.160/-/Sq.ft.
9. Arm strong for Grid ceiling: model of tile is Dune RH99.
10. Item no.1.c) Laminate is to be fixed on Fibre Visakha board as per BOQ.
11. Specification for acoustic treatment as mentioned in 1C is to be adopted for all other partitions, where acoustic treatment is mentioned.
12. Running table depth is 2’0” as mentioned in item no.3 in interior BOQ.
13. Item no.4.a)Where ever 18mm BWP ply is mentioned in the specification for all tables it is to be replaced by 18mm MDF board.
14. Dismantling existing partitions and false ceiling in the existing 3rd floor premises is to be dismantled carefully and re-erected at premises as required by the SBI Life, re-erection charges will be separately paid. Contractor has to quote a lumpsum amount for this item and this particular item will be part of interior BOQ and will be considered into the total tender amount quoted by the contractor.
15. GI Raceway in flooring: The following item is to be included in the tender and will be considered to the total tender amount of work.